BUILDING A STATEMENT OF REQUIREMENT

1.Background of the department:

Why does the department need the goods? What, When? Where?

State the name of the client organization acquiring the services or good and provide a brief summary of the department function and mandate...

Why do you need this good? Contract renewal? Replace old equipment? Increase capacity of research? Etc.

WHAT do you need...WHEN and WHERE do you need it delivered?

2.  What are the Minimum PERFORMANCE Specifications:

These specifications need to be

- Measurable (quantifiable)

- Based on needs vs wants

- Based on operation requirements vs. “ What is in the brochure”

- Expressed in “ranges” or minimum /maximums

- Encourage competition

- Verified during the evaluation

3.  What are the General Specifications?

What are the dimensions?

Will it fit through the door?

Are there weight restrictions – load bearing capacity

Any other restrictions with transportation, delivery or installation

4.  What are the Standards, Certifications, regulations

Questions to ask- where is the equipment being plugged into?   You need to clearly identify and documentation required.

Any Quality Assurance standards that need to be met?  ( ISO 9001)

Any Environmental standards? ( ISO 14001)

5.  Are there software specifications?

Is there software or hardware included?

- Are there performance specifications?

- What time of functionality?

- User friendly needs to be defined.

- Is there compatibility with existing software and hardware?

- If so Compatibility needs to be clearly identified.

6. Technical and Support Warranty

Types of questions to address:

- What happens if the equipment breaks down during operation?

- -What type of support do you need? On site?  Remote? Length of warranty?

- -Exchange or spare parts?

- Is there an acceptable level of down time for the equipment that needs to be repaired?

- What is an acceptable level of response time?

- Call centre support?

- Technical manuals or videos? Both official languages?

7.  Delivery, Inspection, Installation, testing, training

After the equipment is delivered, then what?

- Does the equipment need to be unpacked?

- Who is doing the installation?

- Who will test the equipment to ensure it is working?

- Who from the client department is the inspection authority?

- If equipment delivery is on March 31st. When does installation need to be done?

- Do employees need to be trained on the equipment? What type of training? WebEx? Video? On-site training? Length of training? When does training need to completed by?

8. Quality Insurance

How do we address quality of the supplier?

- Supplier must be an Authorized Value Reseller of the equipment they are offering.

- Should the manufacturer have an International Standard to ensure consistency of manufacturer of the product?

- Be very clear if the vendor will be responsible for providing a “turn-key” system which will include installation, testing and commissioning.

- Equipment offered must be “new” and not “demo” units…and be readily available in the market place.

OTHER FACTORS TO CONSIDER:

- ACCESSIBILITY ( ACCESSIBLE CANADA ACT)- eg:  can the product be used by someone in a seated position? Using one hand?  With limitd upper body strength? With limited fine motor skills?  With vision or hearing loss?

-Does the product have ergonomic features?

-are there environmental irritants associated with the particular product? ( eg smells, flashing lights, toxings)

-Can the supplier communicate with and accommodate people with different types of disabilities?

-Is the site accessible by different modes of transportation and by persons with disabilities ?

II.   Policy on Green Procurement- can we build in option to purchase additional equipment at a later date?   Recyclable packaging?  Non- toxic cleaners?

III Procurement Strategy for Indigenous Businesses-

Has this been considered for your procurement